## Sheet1
| 0 | 1
0 | Derived Value | Value
1 | Date Picker | 29/06/2020
2 | File Prefix | 16
3 | File Tag | YY-OverheatingAnalysis
4 | Model Desc
5 | Report Model Run? | TRUE
6 | As Designed? | TRUE
7 | Filtered Runs to Graph? | FALSE
8 | Results File Path
9 | Model File Path
10 | Date | 01/01/2020
11 | General Reference | TM59 overheating analysis
12 | DWG Reference
13 | London Plan Reference | CIBSE TM59: 2017
14 | Average Glazing Ratio | 55.1
15 | U-Value: Walls | 0.1
16 | U-Value: Floor | 0.1
17 | U-Value: Roof | 0.1
18 | U-Value: Opaque Doors | 0.1
19 | G-value | 0.4
20 | Window Frame Factor | 0.9
21 | U-Value: Windows | 1
22 | Door Frame Factor | 0.9
23 | Air Permeability | 3
24 | Thermal Mass | Lightweight
25 | Vent Desc | Nat Vent
26 | Openable Area: Bedrooms | All Windows
27 | Opening Profile: Bedrooms
28 | Openable Area: Other | All Windows
29 | Opening Profile: Bedrooms
30 | Background Mechanical? | TRUE
31 | MVHR system heat recovery? | TRUE
32 | Gains Desc | As per TM59
33 | Gains: Technical Params | N/A
34 | Cooling Desc | No Cooling
35 | Cooling: Technical Characteristics | N/A