## Sheet1
| 0 | 1
0 | Date Picker | 12/06/2020
1 | File Prefix | 16
2 | File Tag | YY-OverheatingAnalysis
3 | Model Desc
4 | Report Model Run? | TRUE
5 | As Designed? | TRUE
6 | Filtered Runs to Graph? | FALSE
7 | Results File Path
8 | Model File Path
9 | Date | 01/01/2020
10 | General Reference | TM59 overheating analysis
11 | DWG Reference
12 | London Plan Reference | CIBSE TM59: 2017
13 | Average Glazing Ratio | 55.1
14 | U-Value: Walls | 0.1
15 | U-Value: Floor | 0.1
16 | U-Value: Roof | 0.1
17 | U-Value: Opaque Doors | 0.1
18 | G-value | 0.4
19 | Window Frame Factor | 0.9
20 | U-Value: Windows | 1
21 | Door Frame Factor | 0.9
22 | Air Permeability | 3
23 | Thermal Mass | Lightweight
24 | Vent Desc | Nat Vent
25 | Openable Area: Bedrooms | All Windows
26 | Opening Profile: Bedrooms
27 | Openable Area: Other | All Windows
28 | Opening Profile: Bedrooms
29 | Background Mechanical? | TRUE
30 | MVHR system heat recovery? | TRUE
31 | Gains Desc | As per TM59
32 | Gains: Technical Params | N/A
33 | Cooling Desc | No Cooling
34 | Cooling: Technical Characteristics | N/A